## CfI
building code | location | con- sumption |  | meter type | meter number | digits to read | multi-plier (CT-rating) | remark
SUB | CfI | [8 empty] | Reading 1 Dec '21 | Reading 1 Jan '22 | Reading 1 Feb '22 | Reading 1 Mar '22 | Reading 1 Apr '22 | Reading 1 May '22 | Reading 1 Jun '22 | Reading 1 Jul '22 | Reading 1 Aug '22 | Reading 1 Sep '22 | Reading 1 Oct '22 | Reading 1 Nov '22 | Reading 1 Dec '22 | Reading 1 Jan '23 | Jan '23 | Feb '23 | Mar '23 | Apr '23 | May '23 | Jun '23 | Jul '23 | Aug '23 | Sep '23 | Oct '23 | Nov '23 | Dec '23 | Jan '24 | Feb '24 | Mar '24 | Apr '24 | May '24 | Jun '24 | Jul '24 | Aug '24 | Sep '24 | Oct '24 | Nov '24 | Dec '24
H421 | Centre for Innovation main meters total (without Castle St houses) | 56774.28 | kWh | calculated | YB111 | 00 0E 6B 02 63 17 |  |  | Mod 1 | 0 | 0 | 39964 | 41687 | 47467 | 53157 | 68270 | 80465 | 86421 | 80545 | 70996 | 66455.2949 | 52309.8887 | 50002.69 | 47023.62 | 48826.62 | 61191.55 | 57878.53 | 71895.16 | 78622.72 | 82211.2 | 86156.29 | 70026.88 | 66868.61 | 61309.57 | 51813.64 | 51481.73 | 51710.98 | 61824.51 | 65313.02 | 86590.72 | 76972.93 | 87826.94 | 82758.39 | 69790.85 | 56774.28
H421
H421 | Centre for Innovation Landlord meter | 3788.54 | kWh | Janitza UMG103 | 7502-2112 | online | (80) | slave | Mod 3 | 13860 | 8019 | 7946 | 8357 | 10614 | 11977 | 14653 | 17434 | 17580 | 17121 | 15356 | 14599 | 10133.5 | 9819.65 | 8410.5 | 8594.94 | 11288.83 | 11245.18 | 14181.12 | 15785.47 | 16043.01 | 17565.31 | 13345.92 | 12423.55 | 12034.18 | 9629.18 | 9220.35 | 8872.58 | 11648.26 | 12301.18 | 16811.65 | 14540.93 | 16921.22 | 15273.6 | 13909.12 | 3788.54
H421 | CfI-DB-2W | 1701.5 | kWh | Janitza UMG103 | 7502-7907 | online | (60) | slave | Mod 26 | 5112 | 4758 | 4805 | 4295 | 5167 | 5049 | 5890 | 6767 | 7438 | 6717 | 6213 | 6012 | 5348.1 | 4575.68 | 5002.82 | 4882.82 | 5205.25 | 5136.06 | 6079.71 | 6001.15 | 6016.29 | 6187.42 | 5554.11 | 5654.37 | 5251.68 | 4650.94 | 5169.66 | 4846.27 | 5120.96 | 5039.1 | 6679.74 | 5879.04 | 6769.02 | 6441.22 | 5435.2 | 1701.5
H421 | Centre for Innovation suite 1 2W1 | 511.58 | kWh | Janitza UMG103 | 7502-7395 | online | (20) | slave | Mod 15 | 466 | 376 | 464 | 820 | 596 | 669 | 852 | 1277 | 1341 | 1427 | 1388 | 1085 | 962.54 | 1280.18 | 1418.54 | 1532.54 | 1121.65 | 808.1 | 875.26 | 1058.94 | 3063.52 | 3007.3 | 2921.94 | 2765.62 | 2586.43 | 2439.3 | 2237.12 | 2104.8 | 2236.62 | 2225.73 | 3018.67 | 2791.54 | 2538.34 | 2747.06 | 2396.7 | 511.58
H421 | Centre for Innovation suite 2 2W4/1 | 301.14 | kWh | Janitza UMG103 | 7502-7396 | online | (20) | slave | Mod 16 | 1561 | 1604 | 1622 | 1474 | 1754 | 1506 | 1504 | 1570 | 1508 | 1457 | 969 | 1208 | 1532.67 | 1428.77 | 1591.85 | 1448.17 | 1386.61 | 1267.91 | 1285.99 | 1065.99 | 918.86 | 818.86 | 853.46 | 930.96 | 1235.33 | 1304.38 | 1381.12 | 1266.34 | 1207.57 | 1213.28 | 1524.1 | 1020.08 | 1116.26 | 1086.56 | 1098.32 | 301.14
H421 | Centre for Innovation suite 3 2W4/2 | 1409.79 | kWh | Janitza UMG103 | 7502-7908 | online | (20) | slave | Mod 17 | 6090 | 6552 | 6795 | 5537 | 5667 | 5206 | 5421 | 5636 | 6146 | 5918 | 5598 | 6162 | 5317.06 | 5147.39 | 5606.75 | 5195.14 | 5432.13 | 5016.06 | 5308.22 | 5251.52 | 5006.3 | 4960.26 | 5119.39 | 5619.62 | 5395.33 | 5536.99 | 5849.95 | 5387.01 | 5401.18 | 5095.36 | 5494.98 | 5101.89 | 5522.43 | 5536.51 | 5310.02 | 1409.79
H421 | Centre for Innovation suite 4 2W3/2 | 1223.65 | kWh | Janitza UMG103 | 7502-7911 | online | (20) | slave | Mod 18 | 3655 | 3568 | 3565 | 3249 | 3755 | 3573 | 4014 | 4498 | 5019 | 4583 | 4183 | 4243 | 3990.72 | 3265.7 | 3608.86 | 3636.42 | 3734.18 | 3718.43 | 4285.92 | 4281.22 | 4122.11 | 4228.03 | 3678.43 | 3768.26 | 3843.14 | 3468.64 | 3901.34 | 3476 | 3693.6 | 3571.42 | 4737.73 | 4126.88 | 4783.49 | 4506.69 | 3748.45 | 1223.65
H421 | Centre for Innovation suite 5 2W3/1 | 157.89 | kWh | Janitza UMG103 | 7501-9756 | online | (20) | slave | Mod 19 | 411 | 329 | 349 | 290 | 404 | 414 | 459 | 524 | 614 | 560 | 536 | 488 | 420.35 | 357.81 | 392.1 | 356.51 | 458.05 | 378.06 | 505.26 | 450.93 | 410.05 | 527.42 | 706.62 | 821.25 | 525.14 | 394.93 | 462.7 | 535.33 | 564.16 | 501.74 | 574.91 | 614.75 | 676.13 | 655.74 | 529.14 | 157.89
H421 | Centre for Innovation suite 6 2W2 | 273.1 | kWh | Janitza UMG103 | 7502-2109 | online | (20) | slave | Mod 20 | 994 | 808 | 835 | 704 | 969 | 973 | 1282 | 1537 | 1590 | 1395 | 1402 | 1158 | 877.5 | 907.81 | 950.87 | 807.18 | 947.09 | 953.3 | 1192.71 | 1146.42 | 1222.58 | 1256.09 | 1056.7 | 995.58 | 833.35 | 736.99 | 767.38 | 787.51 | 785.01 | 880.48 | 1117.78 | 939.4 | 1080.64 | 1128.7 | 1004.78 | 273.1
H421 | CfI-DB-1W | 2810.05 | kWh | Janitza UMG103 | 7502-7903 | online | (60) | slave | Mod 25 | 3449 | 4404 | 6762 | 8081 | 9019 | 7682 | 7941 | 7259 | 7835 | 8067 | 7612 | 8165 | 9095.39 | 9399.33 | 10072.93 | 10840.86 | 12486.72 | 10211.58 | 11175.68 | 10181.63 | 9947.17 | 10311.97 | 10180.86 | 10739.26 | 10866.18 | 10500.77 | 11176.32 | 10914.08 | 10658.82 | 10542.14 | 10813.44 | 9591.23 | 10251.97 | 10332.74 | 9581.5 | 2810.05
H421 | Centre for Innovation suite 11 1W1 Tennant 4 | 1144.5 | kWh | Janitza UMG103 | 7502-5462 | online | (20) | slave | Mod 9 | 635 | 1434 | 810 | 2546 | 3234 | 4304 | 5279 | 5851 | 6268 | 5831 | 5813 | 4633 | 4235.44 | 4350.69 | 3227.7 | 3336.14 | 4087.6 | 3916.86 | 4798.08 | 5055.52 | 5940.22 | 5998.42 | 5263.94 | 5048.16 | 4615.22 | 3787.49 | 3540.13 | 3636.13 | 4418.24 | 4873.15 | 5310.43 | 4849.7 | 4995.57 | 4430 | 4140.93 | 1144.5
H421 | Centre for Innovation suite 12 1W3/1 Tennant 5 | 479.9 | kWh | Janitza UMG103 | 7502-5466 | online | (20) | slave | Mod 10 | 317 | 424 | 565 | 467 | 651 | 887 | 619 | 1401 | 1267 | 1126 | 787 | 786 | 853.8 | 678.66 | 836.01 | 1115.71 | 1268.44 | 1393.66 | 894.5 | 1938.26 | 1741.02 | 1190.67 | 2044.5 | 1515.58 | 1182.58 | 1287.9 | 1375.17 | 1512.21 | 2099.22 | 2636.13 | 2372.98 | 3251.38 | 3378.29 | 3668.51 | 1802.9 | 479.9
H421 | Centre for Innovation suite 13 1W5 Tennant 6 | 13.47 | kWh | Janitza UMG103 | 7502-7400 | online | (20) | slave | Mod 11 | 137 | 133 | 103 | 110 | 157 | 208 | 204 | 177 | 213 | 230 | 273 | 142 | 123.22 | 79.42 | 78.53 | 45.48 | 40.1 | 35.38 | 41.29 | 36.52 | 42.73 | 38.72 | 36.73 | 37.86 | 43.72 | 67.71 | 42.68 | 36.98 | 42.64 | 35.65 | 40.47 | 57.45 | 53.5 | 46.64 | 45.54 | 13.47
H421 | Centre for Innovation suite 14 1W6 Tennant 1 | 1619.82 | kWh | Janitza UMG103 | 7502-7395 | online | (20) | slave | Mod 12 | 360 | 1398 | 2789 | 3884 | 4312 | 3723 | 3747 | 3274 | 3839 | 3972 | 4100 | 4840 | 5612.22 | 6142.16 | 6479.98 | 6366.43 | 6567.83 | 5820.48 | 6161.38 | 5941.62 | 5933.86 | 6110.32 | 5890.24 | 6221.52 | 6147.58 | 6359.06 | 6542.18 | 6027.54 | 6339.78 | 6108.21 | 6126.37 | 5632.5 | 5983.57 | 6031.86 | 5677.66 | 1619.82
H421 | Centre for Innovation suite 15 1W4 Tennant 2 | 578.42 | kWh | Janitza UMG103 | 7502-7394 | online | (20) | slave | Mod 13 | 919 | 914 | 1916 | 2407 | 2719 | 2285 | 2459 | 2291 | 2224 | 2233 | 1761 | 1562 | 1718.58 | 1645.19 | 1643.34 | 2347.56 | 3696.82 | 2174.64 | 2677.36 | 2337.11 | 2412.45 | 2535.02 | 2170.66 | 2667.24 | 2812.02 | 2286.61 | 2545.04 | 3097.2 | 2776.24 | 2811.22 | 2407.33 | 2202.21 | 2442.66 | 1996.11 | 1818.18 | 578.42
H421 | Centre for Innovation suite 16 1W2 Tennant 3 | 627.25 | kWh | Janitza UMG103 | 7502-7398 | online | (20) | slave | Mod 14 | 2174 | 2097 | 2082 | 1834 | 2034 | 1711 | 1770 | 1726 | 1807 | 1900 | 1784 | 1798 | 1809.76 | 1656.5 | 1997.15 | 2185.65 | 2290.9 | 2271.65 | 2398.93 | 1957.63 | 1652.06 | 1720.72 | 2171.42 | 1910.8 | 1968.34 | 1907.98 | 2151.49 | 1853.54 | 1603.12 | 1681.76 | 2341.14 | 1809.68 | 1884.53 | 2361.26 | 2137.98 | 627.25
H421 | CfI-DB-GW | 2077.95 | kWh | Janitza UMG103 | 7502-7905 | online | (60) | slave | Mod 24 | 4241 | 3048 | 2995 | 3636 | 3701 | 4471 | 6262 | 7831 | 8721 | 6876 | 6379 | 6257 | 4126.94 | 4204.8 | 3208.77 | 3164.9 | 5160.19 | 5318.11 | 6938.24 | 7871.68 | 8228.8 | 8383.78 | 6324.58 | 6098.69 | 5518.14 | 4783.74 | 4401.38 | 5238.37 | 6525.57 | 6491.17 | 9730.85 | 8780.1 | 9615.04 | 9374.56 | 7638.69 | 2077.95
H421 | Centre for Innovation suite 21 GW7/1 Tennant 4 | 156.71 | kWh | Janitza UMG103 | 7502-2111 | online | (20) | slave | Mod 7 | 682 | 686 | 723 | 589 | 718 | 684 | 848 | 1072 | 994 | 1121 | 1049 | 1044 | 1160.37 | 888.29 | 964.51 | 1073.17 | 1361.95 | 981.94 | 1276.69 | 1219.19 | 1173.03 | 1318.63 | 1198.37 | 1215.64 | 579.17 | 469.74 | 533.38 | 580.14 | 554.58 | 568.16 | 653.73 | 531.83 | 617.34 | 551.52 | 540.49 | 156.71
H421 | Centre for Innovation suite 22 GW7/2 Tennant 5 | 241.63 | kWh | Janitza UMG103 | 7502-7393 | online | (20) | slave | Mod 8 | 379 | 151 | 456 | 490 | 455 | 559 | 1433 | 1207 | 1593 | 1014 | 742 | 685 | 370.51 | 307.36 | 486.66 | 702.51 | 861.1 | 1180.24 | 1302.69 | 1556.38 | 1672.9 | 2067.6 | 1320.16 | 1088.91 | 912.18 | 551.3 | 655.06 | 470.43 | 623.5 | 750.98 | 1080.74 | 1122.86 | 926.88 | 1258.8 | 674.59 | 241.63
H421 | Centre for Innovation suite 23 GW8 Tennant 1 | 1195.71 | kWh | Janitza UMG103 | 7502-5463 | online | (20) | slave | Mod 6 | 3367 | 2348 | 2219 | 2811 | 2769 | 3467 | 5258 | 6745 | 7330 | 5596 | 5144 | 5367 | 3281.73 | 3336.58 | 2396.8 | 2272.45 | 3621.54 | 4058.02 | 5435.07 | 6349.06 | 6759.3 | 6845.5 | 4999.17 | 4725.98 | 4022.08 | 3533.7 | 3103.36 | 3624.96 | 4567.04 | 4507.65 | 6333.57 | 5999.97 | 6287.9 | 6075.42 | 4998.82 | 1195.71
H421 | Centre for Innovation suite 24 GW6/2 Tennant 2 | 617.42 | kWh | Janitza UMG103 | 7502-5464 | online | (20) | slave | Mod 5 | 296 | 220 | 249 | 244 | 284 | 224 | 360 | 318 | 417 | 377 | 379 | 283 | 271.91 | 250.5 | 283.9 | 292.54 | 511.75 | 525.72 | 537.33 | 445.35 | 486.9 | 587.75 | 481.41 | 514.61 | 560.05 | 487.3 | 449.16 | 497.06 | 942.38 | 974.94 | 2341.2 | 2005.88 | 2209.66 | 2034.06 | 1784.14 | 617.42
H421 | Centre for Innovation GW6h and corridor | 512.83 | kWh | calculated | [5 empty] | 208 | 145 | 163 | 142 | 190 | 144 | 273 | 239 | 333 | 290 | 240 | 150 | 134.26 | 54.18 | 148.62 | 147.34 | 295.92 | 410.88 | 384.32 | 262.13 | 313.06 | 464.24 | 379.9 | 405.09 | 429.73 | 407.35 | 330.23 | 288.79 | 766.96 | 803.05 | 2174.58 | 1912.81 | 2033.64 | 1512.45 | 1614.09 | 512.83
H421 | Centre for Innovation GW6f Tennant Mastaplex | 0 | kWh | Janitza UMG103 | 7512-6765 | online | (20) | slave | Mod 34 | 2 | 0 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0.14 | 1.52 | 0.9 | 2.15 | 14.3 | 2.77 | 2.86 | 0.01 | 0 | 0.08 | 0.27 | 0.22 | 0.58 | 2.44 | 0 | 3.7 | 0.16 | 0.01 | 0 | 0 | 0 | 362.39 | 79.41 | 0
H421 | Centre for Innovation GW6g Tennant Research & Enterprise | 104.59 | kWh | Janitza UMG103 | 7512-6755 | online | (20) | slave | Mod 33 | 86 | 75 | 85 | 101 | 94 | 80 | 87 | 77 | 84 | 87 | 139 | 133 | 137.51 | 194.8 | 134.38 | 143.05 | 201.53 | 112.07 | 150.15 | 183.21 | 173.84 | 123.43 | 101.24 | 109.3 | 129.74 | 77.51 | 118.93 | 204.57 | 175.26 | 171.88 | 166.62 | 93.07 | 176.02 | 159.22 | 90.64 | 104.59
H421 | Centre for Innovation suite 25 GW6/1 Tennant 3 | 280.63 | kWh | Janitza UMG103 | 7502-5465 | online | (20) | slave | Mod 4 | 601 | 492 | 539 | 597 | 668 | 805 | 681 | 818 | 1029 | 947 | 897 | 646 | 596.92 | 640.99 | 544.14 | 618.32 | 1055.66 | 766.97 | 1008.08 | 1124.5 | 1033.29 | 1001.18 | 879.24 | 892.32 | 971.44 | 788.15 | 873.65 | 1149.44 | 1058.32 | 1051.12 | 1128.65 | 839.36 | 1189.31 | 1335.59 | 910.61 | 280.63
H420 | Centre for Innovation GW6 Corridor | 136.57 | kWh | calculated | [5 empty] | 495 | 403 | 458 | 432 | 550 | 699 | 541 | 689 | 887 | 803 | 744 | 513 | 475.63 | 534.71 | 409.4 | 478.66 | 892.44 | 643.89 | 839.14 | 1000.96 | 907.99 | 843.17 | 726.91 | 750.17 | 821.04 | 662.2 | 742.22 | 1011.38 | 924.26 | 913.45 | 981.32 | 709.27 | 1016.15 | 1152.96 | 768.89 | 136.57
H421 | Centre for Innovation GW6a Tennant Seperex USP | 63.06 | kWh | Janitza UMG103 | 7503-2683 | online | (20) | slave | Mod 32 | 65 | 43 | 41 | 62 | 61 | 51 | 60 | 52 | 67 | 64 | 69 | 66 | 48.87 | 49.49 | 0.19 | 57.46 | 69.27 | 49.89 | 71.28 | 62.98 | 47.71 | 72.88 | 66.36 | 68.55 | 68.14 | 43.51 | 50.51 | 56.51 | 50.05 | 59.69 | 72.28 | 53.65 | 68.99 | 62.67 | 49.97 | 63.06
H421 | Centre for Innovation GW6b Tennant Seperex Wic | 0.01 | kWh | Janitza UMG103 | 7502-9188 | online | (20) | slave | Mod 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14 | 0.06 | 79.44 | 0.2 | 0.17 | 0.11 | 0.34 | 0.1 | 0.11 | 0.17 | 0.18 | 0.11 | 0.11 | 0.12 | 0.06 | 0.03 | 0.03 | 0.05 | 0.02 | 0.02 | 0.07 | 0.06 | 0.03 | 0.01
H421 | Centre for Innovation GW6c-e Tennant Research & Enterprise | 80.99 | kWh | Janitza UMG103 | 7502-9208 | online | (20) | slave | Mod 30 | 41 | 46 | 40 | 103 | 57 | 55 | 80 | 77 | 75 | 80 | 84 | 67 | 72.28 | 56.73 | 55.11 | 82 | 93.78 | 73.08 | 97.32 | 60.46 | 77.48 | 84.96 | 85.79 | 73.49 | 82.15 | 82.32 | 80.86 | 81.52 | 83.98 | 77.93 | 75.03 | 76.42 | 104.1 | 119.9 | 91.72 | 80.99
H421 | Centre for Innovation GW6 corridor | 0 | kWh
H421 | CfI-DB-2E | 488.91 | kWh | Janitza UMG103 | 7502-7906 | online | (40) | slave | Mod 27 | 1566 | 1278 | 1430 | 927 | 484 | 587 | 2306 | 3214 | 3066 | 2770 | 2374 | 1927 | 1279.01 | 753.6 | 953.81 | 1162.21 | 1553.12 | 1113.66 | 2170.8 | 2277.86 | 2781.74 | 2885.86 | 2224.74 | 2048.75 | 1200.29 | 836.4 | 958.46 | 1126.29 | 1690 | 1631.82 | 2952.21 | 2800.03 | 3567.14 | 2831.39 | 2039.94 | 488.91
H420 | Centre for Innovation 2E Corridor | -319.06 | kWh | calculated | [5 empty] | 819 | 601 | 726 | 258 | 185 | 133 | 1027 | 1630 | 1654 | 1393 | 1218 | 917 | 474.97 | 131.43 | 324.42 | 328.1 | 454.46 | 320.61 | 788.88 | 863.52 | 1319.61 | 1335.42 | 1120.26 | 956.59 | 351.87 | 163.44 | 353.56 | 416.14 | 660.88 | 589.72 | 1448.29 | 1544.24 | 1796.75 | 1458.13 | 770.55 | -319.06
H421 | Centre for Innovation second floor east unit 5 2E4-5 | 708.99 | kWh | Janitza UMG104 | 7512-6764 | online | (20) | slave | Mod 35 | 472 | 455 | 458 | 460 | 195 | 351 | 1042 | 1365 | 1211 | 1061 | 894 | 747 | 502.25 | 425.46 | 339.77 | 537.85 | 753.19 | 586 | 1055.57 | 1139.09 | 1248.46 | 1290.17 | 840.19 | 760.05 | 598.04 | 443.46 | 309.05 | 390.94 | 723.86 | 722.97 | 1198.82 | 1033.65 | 1481.83 | 1047.64 | 903.91 | 708.99
H421 | Centre for Innovation second floor east unit 3 2E3 | 98.98 | kWh | Janitza UMG105 | 7502-7910 | online | (20) | slave | Mod 21 | 275 | 222 | 246 | 209 | 104 | 103 | 237 | 219 | 201 | 316 | 262 | 263 | 301.79 | 196.71 | 289.62 | 296.26 | 345.47 | 207.05 | 326.35 | 275.25 | 213.67 | 260.27 | 264.29 | 332.11 | 250.38 | 229.5 | 295.85 | 319.21 | 305.26 | 319.13 | 305.1 | 222.14 | 288.56 | 325.62 | 365.48 | 98.98
H421 | CfI-DB-1E | 605.66 | kWh | Janitza UMG103 | 7502-7904 | online | (40) | slave | Mod 28 | 1531 | 1407 | 1371 | 1101 | 1323 | 1297 | 2137 | 2974 | 3129 | 2256 | 1887 | 1762 | 1513.62 | 1294.11 | 1783.38 | 1452.13 | 1744.53 | 1499.78 | 2256.99 | 2770.9 | 2895.39 | 3053.81 | 1880.27 | 1755.98 | 1651.54 | 1109.22 | 1202.42 | 1413.07 | 1615.86 | 1785.71 | 2897.44 | 2477.04 | 3047.09 | 2995.06 | 1860.5 | 605.66
H421 | Centre for Innovation first floor east unit 3 | 0 | kWh | Janitza UMG103 | 7502-7901 | online | (20) | slave | Mod 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H421 | CfI-DB-GE | 966.18 | kWh | Janitza UMG103 | 7502-7909 | online | (40) | slave | Mod 29 | 1684 | 1228 | 1026 | 1137 | 1416 | 1905 | 3214 | 4402 | 5008 | 4790 | 3282 | 3039 | 1697.42 | 1393.41 | 928.18 | 1022.82 | 1958.64 | 2418.58 | 3451.18 | 4223.54 | 4409.06 | 5159.14 | 3255.6 | 2699.46 | 2258.94 | 1432 | 1215.81 | 1520.86 | 2730.46 | 3292.35 | 5094.05 | 4178.72 | 5355.87 | 4546.56 | 3810.4 | 966.18
H421 | Centre for Innovation GE Corridor and front office | -15.04 | kWh | calculated | [5 empty] | 1404 | 521 | 520 | 389 | 459 | 495 | 819 | 866 | 870 | 799 | 567 | 612 | 554.63 | 512.66 | 509.67 | 530.85 | 583.95 | 599.87 | 684.43 | 713.05 | 966.15 | 979.11 | 757.85 | 785.52 | 608.01 | 614.51 | 632.87 | 640.9 | 760.63 | 889.78 | 1058.65 | 947.71 | 1074.46 | 1074.98 | 800.03 | -15.04
H421 | Centre for Innovation GE5a-5d, G.E6 Maori Development | 621.57 | kWh | Janitza UMG103 | 7502-5467 | online | (20) | slave | Mod 23 | 280 | 516 | 319 | 546 | 585 | 1038 | 1399 | 2429 | 2875 | 3098 | 2049 | 1994 | 928.17 | 731.12 | 231.5 | 290.18 | 1008.67 | 1573.84 | 2299.52 | 2685.1 | 2569.3 | 3068.64 | 1874.82 | 1578.76 | 1327.92 | 579.5 | 396.56 | 699.65 | 1487.15 | 1882.2 | 3125.9 | 2424.78 | 3382.82 | 2665.11 | 2364.03 | 621.57
H421 | Centre for Innovation GE4, G.E7, G.E8 Pacific Development | 282.56 | kWh | Janitza UMG103 | 7512-6744 | online | (20) | slave | Mod 36 | 0 | 122 | 58 | 141 | 210 | 251 | 882 | 1002 | 1140 | 781 | 567 | 355 | 111.75 | 73.73 | 65 | 80.58 | 242.84 | 144.13 | 361.13 | 712.09 | 763.85 | 1039.47 | 513.93 | 258.71 | 231.32 | 134.11 | 113.88 | 94.26 | 384.27 | 438.54 | 829.82 | 729.97 | 798.56 | 706.05 | 565.44 | 282.56
H421 | Centre for Innovation GE board room heating | 77.09 | kWh | Janitza UMG103 | 7502-7910 | online | (20) | slave | Mod 37 | 0 | 69 | 129 | 61 | 162 | 121 | 114 | 105 | 123 | 112 | 99 | 78 | 102.87 | 75.9 | 122.01 | 121.21 | 123.18 | 100.74 | 106.1 | 113.3 | 109.76 | 71.92 | 109 | 76.47 | 91.69 | 103.88 | 72.5 | 86.05 | 98.41 | 81.83 | 79.68 | 76.26 | 100.03 | 100.42 | 80.9 | 77.09
Building consumption |  |  | kWh
Subboards west consumption |  |  | kWh
Subboards east consumption |  |  | kWh
Landlord consumption |  |  | kWh
Tennants west consumption |  |  | kWh
Room Number | Area m2 | Type | Suite | [21 empty] | 2nd West. (Multiplier 300/5)
2.W1 |  | Suite | Suite 1 | [21 empty] | 1st West. (Multiplier 300/5)
2.W1a |  | Suite | Suite 1
2.W4b |  | Suite | Suite 2 | [21 empty] | Ground West(Multiplier 300/5)
2.W4c |  | Suite | Suite 2 | [21 empty] | consumption east wing CfI
2.W4 |  | Suite | Suite 3
2.W4a |  | Suite | Suite 4 | [14 empty] | 2640 | 3420 | 3480 |  |  |  |  | 2nd-East.
2.W3c |  | Suite | Suite 4 | [14 empty] | 1200 | 2760 | 3060 |  |  |  |  | 1st East.
2.W3e |  | Suite | Suite 4 | [14 empty] | 3060 | 2700 | 2340 |  |  |  |  | Ground East
2.W3d |  | Suite | Suite 4
2.W3 |  | Suite | Suite 5 | [14 empty] | January | February |  | March |  |  |  | Landlord Meter(Multiplier 400/5)
2.W3a |  | Suite | Suite 5 | [14 empty] | 1560 | 2160 |  | 5320
2.W3b |  | Suite | Suite 5 | [14 empty] | 1600 | 2000 |  | 4120
2.W2 |  | Suite | Suite 6 | [14 empty] | 1000 | 1440 |  | 3720
2.W2a |  | Suite | Suite 6 | [14 empty] | 0 | 0 |  | 0
2.E3 |  | Suite | Suite 7 | [14 empty] | 6640 | 9600 |  | 21120
2.E4 |  | Suite | Suite 8
2.E4a |  | Suite | Suite 8
2.E5 |  | Suite | Suite 9
1W1 |  | Suite | Suite 11
1W3 |  | Suite | Suite 12
1W5 |  | Suite | Suite 13
1W6 |  | Suite | Suite 14
1W6a |  | Suite | Suite 14
1W6d |  | Suite | Suite 14
1W6b |  | Suite | Suite 14
1W6c |  | Suite | Suite 14
1W4a |  | Suite | Suite 15
1W4b |  | Suite | Suite 15
1W4c |  | Suite | Suite 15
1W4d |  | Suite | Suite 15
1W4e |  | Suite | Suite 15
1W2 |  | Suite | Suite 16
1W2a |  | Suite | Suite 16
1W2b |  | Suite | Suite 16
1E3 |  | Suite | Suite 17
1E3a |  | Suite | Suite 17
1E3b |  | Suite | Suite 17
1E4 |  | Suite | Suite 18
1E5 |  | Suite | Suite 19
1E5a |  | Suite | Suite 19
1E5b |  | Suite | Suite 19
|  | Suite | Suite 21
GW7g |  | Suite | Suite 21
GW7a |  | Suite | Suite 22
GW7b |  | Suite | Suite 22
GW7c |  | Suite | Suite 22
GW7d |  | Suite | Suite 22
GW7e |  | Suite | Suite 22
GW7f |  | Suite | Suite 22
GW8 |  | Suite | Suite 23
GW6a |  | Incubator Offices | Suite 26
GW6b |  | Incubator Offices | Suite 27
GW6c |  | Incubator Offices | Suite 28
GW6d |  | Incubator Offices | Suite 28
GW6e |  | Incubator Offices | Suite 28
GW6f |  | Incubator Labs Suite 25 Kitchen | Suite 29
GW6g |  | Incubator Labs lab a | Suite 30
GW6h |  | Incubator Labs Lab b | Suite 25
GW1a |  | Incubator Labs | GW1a
GW1b |  | Incubator Labs | GW1b
GE8 |  | Incubator Labs | GE8
GE7 |  | Incubator Labs | GE7
GE6 |  | Incubator Labs | GE6
GE5a |  | Incubator Labs | GE5a
GE5b |  | Incubator Labs | GE5b
GE5 |  | Incubator Labs | GE5
GE5c |  | Incubator Labs | GE5c
GE5d |  | Incubator Labs | GE5d
GCE |  | Incubator Labs | GCE
GE4 |  | Incubator Labs | GE4
GE4a |  | Incubator Labs | GE4a
GE3 |  | Incubator Labs | GE3
Foyer |  | Incubator Labs | Foyer
CFI |  | Incubator Labs | CFI